## Site 1
CalTest
Site | 1
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1988
Zip Code | 95765
CA Climate Zone | 11
Conditioned Area | 2100
Volume | 16800
# of Stories Above Grade | 1
Ceiling Height | 8
Bedrooms | 3
Front Orientation | North West
Foundation Type | Slab
Duct Location | AtticCeil
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.779999971 | 0.949999988
Central Air Conditioner Efficiency (SEER) | 1 | SplitDX
Cooling Capacity | 8.9 | 15
Duct Insulation R (nominal) | 4.199999809 | .
Duct Leakage CFM25 | 326 | 108
Water Heater Type | "Standard Storage Water Heater" | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2545 | 1896
Foundation Floor Insulation | . | .
Foundation Wall Insulation | . | .
Attic Type | "75% Wood Frame 25% Vaulted Roof" | .
Attic Ceiling Area | 1051 | .
Attic Insulation | 0.039735802 | .
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | Insulation | .
Window Type/spec | Double Pane Metal Frame | .
Other Retrofits
.
Retrofit Start | 8/2/11
Retrofit Complete | 10/25/11
Weather Station Used | Rocklin

## Site 2
CalTest
Site | 2
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1956
Zip Code | 94526
CA Climate Zone | 12
Conditioned Area | 1612
Volume | 12896
# of Stories Above Grade | 1
Ceiling Height | .
Bedrooms | .
Front Orientation | .
Foundation Type | CrawlSpace
Duct Location | AtticCeil
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.800000012 | 0.949999988
Central Air Conditioner Efficiency (SEER) | 1 | SplitDX
Cooling Capacity | 13 | 15
Duct Insulation R (nominal) | 1 | 10
Duct Leakage CFM25 | . | 18
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4070 | 2555
Foundation Floor Insulation | 0.097000003 | .
Foundation Wall Insulation | . | .
Attic Type | Setback | .
Attic Ceiling Area | . | .
Attic Insulation | 0.120792098 | .
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | 0.101999998 | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 6/15/11
Retrofit Complete | 12/8/11
Weather Station Used | CONCORD

## Site 3
CalTest
Site | 3
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1964
Zip Code | 94556
CA Climate Zone | 12
Conditioned Area | 1964
Volume | 15712
# of Stories Above Grade | 1
Ceiling Height | .
Bedrooms | .
Front Orientation | .
Foundation Type | CrawlSpace
Duct Location | Crawlspac
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.800000012 | .
Central Air Conditioner Efficiency (SEER) | 1 | SplitDX
Cooling Capacity | 13 | .
Duct Insulation R (nominal) | 5 | 20
Duct Leakage CFM25 | . | 132
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 3855 | 2401
Foundation Floor Insulation | 0.097000003 | .
Foundation Wall Insulation | . | .
Attic Type | Setback | .
Attic Ceiling Area | . | .
Attic Insulation | 0.120792098 | .
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | 0.356000006 | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 7/12/11
Retrofit Complete | 11/10/11
Weather Station Used | CONCORD

## Site 4
CalTest
Site | 4
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1969
Zip Code | 94619
CA Climate Zone | 3
Conditioned Area | 1845
Volume | 15313.5
# of Stories Above Grade | 1
Ceiling Height | .
Bedrooms | .
Front Orientation | .
Foundation Type | CrawlSpace
Duct Location | Crawlspac
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.75 | 0.949999988
Central Air Conditioner Efficiency (SEER) | 0 | SplitDX
Cooling Capacity | 10 | 10
Duct Insulation R (nominal) | 2.099999905 | 8
Duct Leakage CFM25 | . | 80
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2150 | 1850
Foundation Floor Insulation | 0.097000003 | .
Foundation Wall Insulation | . | .
Attic Type | No Setback | .
Attic Ceiling Area | . | .
Attic Insulation | 0.079000004 | .
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | 0.109999999 | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 8/9/11
Retrofit Complete | 10/27/11
Weather Station Used | OAKLAND

## Site 5
CalTest
Site | 5
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1962
Zip Code | 94087
CA Climate Zone | 4
Conditioned Area | 1785
Volume | 14280
# of Stories Above Grade | 1
Ceiling Height | .
Bedrooms | .
Front Orientation | .
Foundation Type | CrawlSpace
Duct Location | Crawlspac
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.779999971 | .
Central Air Conditioner Efficiency (SEER) | 0 | SplitDX
Cooling Capacity | 13 | .
Duct Insulation R (nominal) | 2 | .
Duct Leakage CFM25 | 550 | .
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 3000 | .
Foundation Floor Insulation | 0.097000003 | .
Foundation Wall Insulation | . | .
Attic Type | Setback | .
Attic Ceiling Area | . | .
Attic Insulation | 0.075999998 | .
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | 0.356000006 | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 6/16/11
Retrofit Complete | 6/9/11
Weather Station Used | CUPERTINO

## Site 6
CalTest
Site | 6
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1961
Zip Code | 94903
CA Climate Zone | 2
Conditioned Area | 1785
Volume | 14280
# of Stories Above Grade | 1
Ceiling Height | .
Bedrooms | .
Front Orientation | .
Foundation Type | CrawlSpace
Duct Location | AtticCeil
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.800000012 | 0.959999979
Central Air Conditioner Efficiency (SEER) | 1 | SplitDX
Cooling Capacity | 9.7 | 9.699999809
Duct Insulation R (nominal) | 2 | 6
Duct Leakage CFM25 | . | 150
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2805 | 2480
Foundation Floor Insulation | 0.097000003 | .
Foundation Wall Insulation | . | .
Attic Type | Setback | .
Attic Ceiling Area | . | .
Attic Insulation | 0.079000004 | .
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | 0.356000006 | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 1/17/12
Retrofit Complete | 2/15/12
Weather Station Used | SAN RAFAEL

## Site 7
CalTest
Site | 7
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1956
Zip Code | 94510
CA Climate Zone | 12
Conditioned Area | 1750
Volume | 14000
# of Stories Above Grade | 1
Ceiling Height | .
Bedrooms | .
Front Orientation | .
Foundation Type | CrawlSpace
Duct Location | AtticCeil
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.949999988 | .
Central Air Conditioner Efficiency (SEER) | 1 | SplitDX
Cooling Capacity | 14.2 | .
Duct Insulation R (nominal) | 8 | .
Duct Leakage CFM25 | . | 80
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 3352 | 2450
Foundation Floor Insulation | 0.097000003 | .
Foundation Wall Insulation | . | .
Attic Type | Living | .
Attic Ceiling Area | . | .
Attic Insulation | 0.137387395 | .
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | 0.356000006 | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 12/1/11
Retrofit Complete | 2/29/12
Weather Station Used | SAN RAFAEL

## Site 8
CalTest
Site | 8
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1981
Zip Code | 95120
CA Climate Zone | 4
Conditioned Area | 1797
Volume | 14376
# of Stories Above Grade | 1
Ceiling Height | .
Bedrooms | .
Front Orientation | .
Foundation Type | CrawlSpace
Duct Location | Crawlspac
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.899999976 | .
Central Air Conditioner Efficiency (SEER) | 1 | SplitDX
Cooling Capacity | 13 | .
Duct Insulation R (nominal) | 2 | 6
Duct Leakage CFM25 | 515 | 205
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4577 | 1831
Foundation Floor Insulation | 0.097000003 | .
Foundation Wall Insulation | . | .
Attic Type | Setback | .
Attic Ceiling Area | . | .
Attic Insulation | 0.115029298 | .
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | 0.109999999 | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 1/21/12
Retrofit Complete | 3/16/12
Weather Station Used | MILPITAS

## Site 9
CalTest
Site | 9
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1980
Zip Code | 94597
CA Climate Zone | 12
Conditioned Area | 1877
Volume | 15016
# of Stories Above Grade | 1
Ceiling Height | .
Bedrooms | .
Front Orientation | .
Foundation Type | CrawlSpace
Duct Location | Crawlspac
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.800000012 | 0.920000017
Central Air Conditioner Efficiency (SEER) | . | SplitDX
Cooling Capacity | 10 | .
Duct Insulation R (nominal) | 2 | 4
Duct Leakage CFM25 | . | 151
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4483 | 3135
Foundation Floor Insulation | 0.097000003 | .
Foundation Wall Insulation | . | .
Attic Type | Setback | .
Attic Ceiling Area | . | .
Attic Insulation | 0.137387395 | .
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | 0.101999998 | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 8/2/11
Retrofit Complete | 10/17/11
Weather Station Used | CONCORD

## Site 10
CalTest
Site | 10
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1957
Zip Code | 94062
CA Climate Zone | 3
Conditioned Area | 1750
Volume | 14000
# of Stories Above Grade | 1
Ceiling Height | .
Bedrooms | .
Front Orientation | .
Foundation Type
Duct Location | Crawlspac
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.779999971 | .
Central Air Conditioner Efficiency (SEER) | 0 | SplitDX
Cooling Capacity | 10 | .
Duct Insulation R (nominal) | 2.099999905 | .
Duct Leakage CFM25 | . | .
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4175 | .
Foundation Floor Insulation | 0.097000003 | .
Foundation Wall Insulation | . | .
Attic Type | Setback | .
Attic Ceiling Area | . | .
Attic Insulation | 0.199226707 | .
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | 0.356000006 | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 8/21/11
Retrofit Complete | 1/19/12
Weather Station Used | BELMONT

## Site 11
CalTest
Site | 11
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1908
Zip Code | 94903
CA Climate Zone | 13
Conditioned Area | 1792
Volume
# of Stories Above Grade | 1
Ceiling Height | 9
Bedrooms | .
Front Orientation | .
Foundation Type | Raised Floor
Duct Location | .
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | . | .
Central Air Conditioner Efficiency (SEER) | . | No
Cooling Capacity
Duct Insulation R (nominal) |  | 8
Duct Leakage CFM25 | 0 | .
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 5432 | 3778
Foundation Floor Insulation | . | .
Foundation Wall Insulation
Attic Type | . | .
Attic Ceiling Area | . | .
Attic Insulation | R-11 | R-48
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start
Retrofit Complete
Weather Station Used | .

## Site 12
CalTest
Site | 12
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1935
Zip Code | 90035
CA Climate Zone | 9
Conditioned Area | 1674
Volume
# of Stories Above Grade | 1
Ceiling Height | 9
Bedrooms | .
Front Orientation | .
Foundation Type | Raised Floor
Duct Location | .
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | . | .
Central Air Conditioner Efficiency (SEER) | . | No
Cooling Capacity
Duct Insulation R (nominal) |  | 6
Duct Leakage CFM25 |  | .
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4679 | 2651
Foundation Floor Insulation | . | .
Foundation Wall Insulation
Attic Type | . | .
Attic Ceiling Area | . | .
Attic Insulation | R-0 | R-38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start
Retrofit Complete
Weather Station Used | .

## Site 13
CalTest
Site | 13
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1940
Zip Code | 91107
CA Climate Zone | 9
Conditioned Area | 1800
Volume
# of Stories Above Grade | 1
Ceiling Height | 8
Bedrooms | .
Front Orientation | .
Foundation Type | Raised Floor
Duct Location | .
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 90 | .
Central Air Conditioner Efficiency (SEER) | . | No
Cooling Capacity
Duct Insulation R (nominal) | R6
Duct Leakage CFM25 | 253 | .
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 3373 | 2967
Foundation Floor Insulation | . | .
Foundation Wall Insulation
Attic Type | . | .
Attic Ceiling Area | . | .
Attic Insulation | R-8 | R-38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | . | R13
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start
Retrofit Complete
Weather Station Used | .

## Site 14
CalTest
Site | 14
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1948
Zip Code | 91423
CA Climate Zone | 9
Conditioned Area | 1390
Volume
# of Stories Above Grade | 1
Ceiling Height | 8
Bedrooms | .
Front Orientation | .
Foundation Type | Raised Floor
Duct Location | .
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.800000012 | .
Central Air Conditioner Efficiency (SEER) | . | Yes
Cooling Capacity
Duct Insulation R (nominal) | R-2.1 | 8
Duct Leakage CFM25 | 185 | .
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2524 | 1962
Foundation Floor Insulation | . | .
Foundation Wall Insulation
Attic Type | . | .
Attic Ceiling Area | . | .
Attic Insulation | R-0 | R-38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start
Retrofit Complete
Weather Station Used | .

## Site 15
CalTest
Site | 15
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1953
Zip Code | 91790
CA Climate Zone | 9
Conditioned Area | 1386
Volume
# of Stories Above Grade | 1
Ceiling Height | 8
Bedrooms | .
Front Orientation | .
Foundation Type | Raised Floor
Duct Location | .
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 80 | .
Central Air Conditioner Efficiency (SEER) | . | No
Cooling Capacity
Duct Insulation R (nominal)
Duct Leakage CFM25 |  | .
Water Heater Type | Propane | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2555 | 1700
Foundation Floor Insulation | . | .
Foundation Wall Insulation
Attic Type | . | .
Attic Ceiling Area | . | .
Attic Insulation | R-19 | R-44
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | . | R15
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start
Retrofit Complete
Weather Station Used | .

## Site 16
CalTest
Site | 16
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | 1966
Zip Code | 91321
CA Climate Zone | 9
Conditioned Area | 1672
Volume
# of Stories Above Grade | 1
Ceiling Height | 8
Bedrooms | .
Front Orientation | .
Foundation Type | Slab on Grade
Duct Location | .
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | . | .
Central Air Conditioner Efficiency (SEER) | .
Cooling Capacity
Duct Insulation R (nominal)
Duct Leakage CFM25 | 0 | .
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 3078 | .
Foundation Floor Insulation | . | .
Foundation Wall Insulation
Attic Type | . | .
Attic Ceiling Area | . | .
Attic Insulation | R-19
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start
Retrofit Complete
Weather Station Used | .

## Site 17
CalTest
Site | 17
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | .
Zip Code | 92128
CA Climate Zone | 10
Conditioned Area | 1457
Volume | 14570
# of Stories Above Grade | 1
Ceiling Height | 10
Bedrooms | 3
Front Orientation | 0
Foundation Type | Slab
Duct Location | AtticCeilingInsVented
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.800000012 | AFUE
Central Air Conditioner Efficiency (SEER) | SplitAirConditioner
Cooling Capacity | 10
Duct Insulation R (nominal) | 4.199999809
Duct Leakage CFM25
Water Heater Type | GasFired | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2630
Foundation Floor Insulation
Foundation Wall Insulation
Attic Type
Attic Ceiling Area
Attic Insulation
Wall Construction Type | 2x4 Wood Frame
Wall Insulation
Window Type/spec
Other Retrofits
Retrofit Start
Retrofit Complete
Weather Station Used | 722926

## Site 18
CalTest
Site | 18
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | .
Zip Code | 92020
CA Climate Zone | 10
Conditioned Area | 1750
Volume | 14000
# of Stories Above Grade | 1
Ceiling Height | 8
Bedrooms | 3
Front Orientation | 0
Foundation Type | Slab
Duct Location | AtticCeilingInsVented
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.800000012 | AFUE
Central Air Conditioner Efficiency (SEER) | SplitAirConditioner
Cooling Capacity | 13
Duct Insulation R (nominal) | 2.099999905
Duct Leakage CFM25
Water Heater Type | GasFired | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2450
Foundation Floor Insulation
Foundation Wall Insulation
Attic Type
Attic Ceiling Area
Attic Insulation
Wall Construction Type | 2x4 Wood Frame
Wall Insulation
Window Type/spec
Other Retrofits
Retrofit Start
Retrofit Complete
Weather Station Used | 722926

## Site 19
CalTest
Site | 19
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | .
Zip Code | 92110
CA Climate Zone | 7
Conditioned Area | 1392
Volume | 11136
# of Stories Above Grade | 1
Ceiling Height | 8
Bedrooms | 3
Front Orientation | 0
Foundation Type | CrawlSpace
Duct Location | AtticCeilingInsVented
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.800000012 | AFUE
Central Air Conditioner Efficiency (SEER) | SplitAirConditioner
Cooling Capacity | 9.7
Duct Insulation R (nominal) | 2.099999905
Duct Leakage CFM25
Water Heater Type | GasFired | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2080
Foundation Floor Insulation
Foundation Wall Insulation
Attic Type
Attic Ceiling Area
Attic Insulation
Wall Construction Type | 2x4 Wood Frame
Wall Insulation
Window Type/spec
Other Retrofits
Retrofit Start
Retrofit Complete
Weather Station Used | 722900

## Site 20
CalTest
Site | 20
VENDOR FILL THIS TABLE | Software Projection |  |  |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Realized | Pass? | Before | After | Savings
Gas - total therms
Electric - total kWh
Calibrated?
Basic House Information
Year Built | .
Zip Code | 92117
CA Climate Zone | 7
Conditioned Area | 1616
Volume | 14544
# of Stories Above Grade | 1
Ceiling Height | 9
Bedrooms | 4
Front Orientation | 0
Foundation Type | CrawlSpace
Duct Location | AtticCeilingInsVented
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.800000012 | AFUE
Central Air Conditioner Efficiency (SEER) | SplitAirConditioner
Cooling Capacity | 13
Duct Insulation R (nominal) | 2.099999905
Duct Leakage CFM25
Water Heater Type | GasFired | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2650
Foundation Floor Insulation
Foundation Wall Insulation
Attic Type
Attic Ceiling Area
Attic Insulation
Wall Construction Type | 2x4 Wood Frame
Wall Insulation
Window Type/spec
Other Retrofits
Retrofit Start
Retrofit Complete
Weather Station Used | 722903