## Sheet1
Category of Question | Test Home # | Vendor Question | Answer | Changes made to CalTEST
Home Data | 1 | B34 suggests that the sqft of attic is 1051, but you call the house out at 2100 sqft and a single story. How is it possible that the attic be 1/2 the house footprint if there’s only one floor? The building is listed as having 25% vaulted roof. It's likely that the vaulted section was not retrofitted. It's also quite possible that it did not have the same initial R-25. Was there no separate specification of the vault? | Site 1 is actually a two story home, not 1 story as erroneously noted. Pre-retrofit condition: 713ft2 of R25 and 338ft2 of R-19. | Combined attic insulation changed to Pre- R22
|  | What does Foundation Type: Raised Floor mean? Some sites have Foundation Type: Raised Floor and Duct Location: Crawlspace. | Energy Pro Raised Floor is a 16" off center wood framed floor with a crawlspace beneath it, and it means this is where majority of the Heating and Cooling duct distribution system is located. | All Changed to say Crawlspace
|  | What is the difference between the AtticCeilingInsVented and AtticCeil entries for Duct Location? I can't see any consistency in the attic insulation values associated with either. | In Energy Pro whether you specify the attic as vented vs just Attic Ceiling. In either case, the ducts are located in the ceilings. | All changed to say Wood frame attic
| 20 | On site 20, you have Attic Construction Type: Attic and Cathedral with no attic area and an attic insulation improvement. We need more information about the area split. Also, as with Site 1, it's likely that the attic and vault do not have identical starting insulation values and that only the attic was improved. These need to be better specified. | R-0 insulation (U-0.305) Roof Attic = 232 sq ft ¦¦ R-0 (U-0.297) cathedral = 1384 sq ft ¦¦Only Attic portion (232 sq ft) was improved to R-38 (U-0.025). | Attic 232ft2, cathedral 1384ft2. Attic Insul and Cathedral insul pre- 0,0 post- R-38, R0
|  | None of the water heater descriptions are complete. They describe either the type (e.g. storage) or the fuel (e.g. Natural Gas). None of them give both the fuel and type. | They are all natural gas storage type | All Natural gas storage. Only Test home 4 improved. Site 4 pre- is now .58
| 18, 20 | There are several houses that have the same SEER for the Air Conditioning before and after but still show signifcant KWH reductions. Our specific question is: "Why do we see significant electric savings in the San Diego Market even when the before and after SEER is the same" Can the give us some help? Were there any other measures performed to achieve these savings ?? | Errors were found on weather normalized usage data for some of homes 12-20. Revisions made in new version of CalTEST. These address the concerns raised here. | Errors fixed in revised CalTEST
Spreadsheet Calculations |  | Few of the calculations for realization rate in the summary make sense. 1st of all, column D doesn’t represent the proper site all the way through 1 to 20. All sites reflect Site 1. And Electricity uses the savings from natural gas and then also doesn’t reflect the proper site. Finally, the calculation for Pass/Fail is an invalid Xcel formula. F40 shows: =IF(E40>0.8 & E40<1.2,"YES","No") I have 104% as a value for # and it results in No. From what I understand in Excel, the “&" is used for concatenation only, so the high end of this will always fail. On each site page, D6 and D7 is not calculated automatically and should be. It’s labeled “Pass", but I would assume D6 should be B6-C6 and D7 should be B7-C7, and then shouldn’t it be labeled “Savings”? | Errors fixed in Revised CalTEST | Now fixed in Revised CalTEST
| This question sent after revised spreasheet sent out to address above comments | This spreadsheet is better, but it still has lots of problems. I would advise against putting formulas in white text as opposed to hiding the columns. I would easily have inadvertently typed over that text in columns g and h. However, the formula in column G is also wrong. It’s not looking at % and instead an integer. Column H is correct. =IF(E15>80,1,0) should be =IF(E15>0.8,1,0) And, shouldn’t it be => instead of just >? Does an 80% realization rate pass or must it be 81%? Also, the electricity section is only reflecting gas, so D40 should be ='Site 1'!D$7 instead of ='Site 1'!D$6 and similar all the way down the 20 sites. Also, as mentioned previously, I’d automatically calculate D6 and D7 on the individual site pages. They're labeled “Pass", but I would assume D6 should be =B6-C6 and D7 should be =B7-C7 and then should be labeled “Savings”. | Errors fixed in Revised CalTEST | Now fixed in Revised CalTEST
|  | Shouldn't the Realization Rate be the Projected divided by the Normalized. That way a 50% realization means that the actual was half the projected. This is how it was calculated in the Beta. | Beta was Normalized divided by Projected. Checking with Blasnik to confirm that is accepted convention. | Now fixed in Revised CalTEST
|  | On the Summary sheet, I think the Average Realization Rate should be the ratio of the average Projected and Normalized savings, rather than the average of the individual realization rates. When you do it as an average of the individual realization rates, you give to calculations with small denominators and other outliers. It was calculated as the ratio of the averages in the Beta. | Will do Normalized divided by sum of Projected to deal with small denominator problem. | Now fixed in Revised CalTEST
Note on D7: Jim: There is not a significant reduction in kWh. Numbers in spreadsheet are incorrect. See ECON2 inserted here.