## Summary
Energy Upgrade California - CalTEST Empirical Software Test, Uncalibrated
Version 1.0 4-June-2014
Software Vendor
Tool name and version
Date submitted
Overall Results | Pass/Fail
Natural Gas | 0%
Electric | 0%
Natural Gas (th/yr)
Site Number | Billing Usage | Weather NormalizedBilling Savings | Projected Savings | Realization | Pass?
1 | 548 | 116 | 0 | 0% | FAIL | 0 | 1 | 0
2 | 868 | 337 | 0 | 0% | FAIL | 0 | 1 | 0
3 | 915 | 304 | 0 | 0% | FAIL | 0 | 1 | 0
4 | 832 | 225 | 0 | 0% | FAIL | 0 | 1 | 0
5 | 574 | 218 | 0 | 0% | FAIL | 0 | 1 | 0
6 | 868 | 337 | 0 | 0% | FAIL | 0 | 1 | 0
7 | 631 | 75 | 0 | 0% | FAIL | 0 | 1 | 0
8 | 868 | 337 | 0 | 0% | FAIL | 0 | 1 | 0
9 | 548 | 191 | 0 | 0% | FAIL | 0 | 1 | 0
10 | 754 | 308 | 0 | 0% | FAIL | 0 | 1 | 0
11 | 868 | 337 | 0 | 0% | FAIL | 0 | 1 | 0
12 | 776 | 287 | 0 | 0% | FAIL | 0 | 1 | 0
13 | 754 | 418 | 0 | 0% | FAIL | 0 | 1 | 0
14 | 956 | 350 | 0 | 0% | FAIL | 0 | 1 | 0
15 | 749 | 290 | 0 | 0% | FAIL | 0 | 1 | 0
16 | 995 | 302 | 0 | 0% | FAIL | 0 | 1 | 0
17 | 945 | 272 | 0 | 0% | FAIL | 0 | 1 | 0
18 | 562 | 175 | 0 | 0% | FAIL | 0 | 1 | 0
19 | 868 | 337 | 0 | 0% | FAIL | 0 | 1 | 0
20 | 737 | 206 | 0 | 0% | FAIL | 0 | 1 | 0
Average - overall | 780.8 | 271.1 | 0 | 0% |  |  |  | 0
|  |  | Site Pass % |  | 0%
Electricity (kWh/yr)
Site Number | Billing Usage | Weather Normalized Billing Savings | Projected Savings | Realization | Pass?
1 | 7983 | 2599 | 0 | 0% | FAIL | 0 | 1 | 0
2 | 10635 | 2803 | 0 | 0% | FAIL | 0 | 1 | 0
3 | 9578 | 1746 | 0 | 0% | FAIL | 0 | 1 | 0
4 | 0 | 0
5 | 0 | 0
6 | 8693 | 1224 | 0 | 0% | FAIL | 0 | 1 | 0
7 | 0 | 0
8 | 6368 | 990 | 0 | 0% | FAIL | 0 | 1 | 0
9 | 0 | 0
10 | 6479 | 1647 | 0 | 0% | FAIL | 0 | 1 | 0
11 | 10635 | 2803 | 0 | 0% | FAIL | 0 | 1 | 0
12 | 9978 | 4242 | 0 | 0% | FAIL | 0 | 1 | 0
13 | 6483 | 2790 | 0 | 0% | FAIL | 0 | 1 | 0
14 | 12063 | 3270 | 0 | 0% | FAIL | 0 | 1 | 0
15 | 10635 | 2803 | 0 | 0% | FAIL | 0 | 1 | 0
16 | 13642 | 4912 | 0 | 0% | FAIL | 0 | 1 | 0
17 | 11867 | 1074 | 0 | 0% | FAIL | 0 | 1 | 0
18 | 5831 | 1239 | 0 | 0% | FAIL | 0 | 1 | 0
19 | 10635 | 2803 | 0 | 0% | FAIL | 0 | 1 | 0
20 | 7759 | 1734 | 0 | 0% | FAIL | 0 | 1 | 0
Average - overall | 7463.2 | 1933.95 | 0 | 0%
|  |  | Site Pass % |  | 0% |  |  | 0

## Site 1
CalTest - Uncalibrated
Site | 1
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 548 | 432 | 116
Electric - total kWh |  |  | 0 | 7983 | 5384 | 2599
Basic House Information
Year Built | 1988
Zip Code | 95765
CA Climate Zone | 11
Conditioned Area (sq ft) | 2100
Volume (cubic ft) | 16800
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North West
Foundation Type | Slab
Duct Location | AtticCeil
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.78 | 0.95
Central Air Conditioner Efficiency (SEER) | 8.9 | 15
Duct Insulation R (nominal) | 4.2 | -
Duct Leakage CFM25 | 326 | 108
Water Heater Type | Standard Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2545 | 1896
Foundation Floor Insulation(R-value) | N/A | -
Foundation Wall Insulation (R-value) | N/A | -
Attic Construction Type | 75% Wood Frame 25% Vaulted Roof | .
Attic Ceiling Area (sq ft) | 1051 | .
Attic Insulation (R-value Nominal) | R-25 | R-49
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Insulation | .
Window Type/spec | Double Pane Metal Frame | .
Other Retrofits
.
Retrofit Start | 8/2/11
Retrofit Complete | 10/25/11
Weather Station Used | Rocklin

## Site 2
CalTest - Uncalibrated
Site | 2
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 868 | 531 | 337
Electric - total kWh |  |  | 0 | 10635 | 7832 | 2803
Basic House Information
Year Built | 1956
Zip Code | 94526
CA Climate Zone | 12
Conditioned Area (sq ft) | 1612
Volume (cubic ft) | 12896
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 4
Front Orientation | East
Foundation Type | CrawlSpace
Duct Location | AtticCeil
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 13 | -
Duct Insulation R (nominal) | 1 | 10
Duct Leakage CFM25 | 328 | 18
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4070 | 2555
Foundation Floor Insulation(R-value) | R-0 | .
Foundation Wall Insulation (R-value) | N/A | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1617 | .
Attic Insulation (R-value Nominal) | R-5 | R-38
Wall Construction Type | 2X4 Wood Frame | .
Wall Insulation (R-value Nominal) | R-13 | .
Window Type/spec | Double Pane Metal Frame | .
Other Retrofits
.
Retrofit Start | 6/15/11
Retrofit Complete | 12/8/11
Weather Station Used | CONCORD

## Site 3
CalTest - Uncalibrated
Site | 3
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 915 | 611 | 304
Electric - total kWh |  |  | 0 | 9578 | 7832 | 1746
Basic House Information
Year Built | 1964
Zip Code | 94556
CA Climate Zone | 12
Conditioned Area (sq ft) | 1964
Volume (cubic ft) | 15712
# of Stories Above Grade | 1
Ceiling Height (ft) | 9
Bedrooms | 4
Front Orientation | East
Foundation Type | CrawlSpace
Duct Location | Crawlspac
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | -
Central Air Conditioner Efficiency (SEER) | 13 | -
Duct Insulation R (nominal) | 5 | 20
Duct Leakage CFM25 | 254 | 132
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 3855 | 2401
Foundation Floor Insulation(R-value) | R-0 | .
Foundation Wall Insulation (R-value) | N/A | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1964 | -
Attic Insulation (R-value Nominal) | 5 | 38
Wall Construction Type | 2x4 Wood Frame | -
Wall Insulation (R-value Nominal) | Uninsulated | -
Window Type/spec | Doubel Pane Non-Metal Frame U=0.4 SHGC=0.5 | .
Other Retrofits
.
Retrofit Start | 2011-10-01
Retrofit Complete | 2011-11-21
Weather Station Used | Moraga

## Site 4
CalTest - Uncalibrated
Site | 4
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 832 | 607 | 225
Electric - total kWh |  |  | 0 |  |  | 0
Basic House Information
Year Built | 1969
Zip Code | 94619
CA Climate Zone | 3
Conditioned Area (sq ft) | 1845
Volume (cubic ft) | 15313.5
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 4
Front Orientation | East
Foundation Type | CrawlSpace
Duct Location | Crawlspac
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.75 | 0.95
Central Air Conditioner Efficiency (SEER) | N/A | -
Duct Insulation R (nominal) | 2.1 | 8
Duct Leakage CFM25 | N/A* | 80 | *No Duct Test in due to Asbestos
Water Heater Type | Storage Water Heater | Storage Water Heater, EF=.67
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2150 | 1555
Foundation Floor Insulation(R-value) | 0 | 19
Foundation Wall Insulation (R-value) | . | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1845 | .
Attic Insulation (R-value Nominal) | 11 | 44
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Insulated | .
Window Type/spec | 20% Single Pane NonMetal Frame 80% Double Pane Non-Metal Frame | .
Other Retrofits
.
Retrofit Start | 8/9/11
Retrofit Complete | 10/27/11
Weather Station Used | OAKLAND

## Site 5
CalTest - Uncalibrated
Site | 5
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 574 | 356 | 218
Electric - total kWh |  |  | 0 |  |  | 0
Basic House Information
Year Built | 1962
Zip Code | 94087
CA Climate Zone | 4
Conditioned Area (sq ft) | 1785
Volume (cubic ft) | 14280
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North
Foundation Type | CrawlSpace
Duct Location | Crawlspac
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.78 | 0.95
Central Air Conditioner Efficiency (SEER) | 13 | 13
Duct Insulation R (nominal) | 2 | 8
Duct Leakage CFM25 | 550 | 210
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 3000 | 1834
Foundation Floor Insulation(R-value) | 0 | .
Foundation Wall Insulation (R-value) | N/A | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1881 | .
Attic Insulation (R-value Nominal) | 11 | 38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Not Insulated | .
Window Type/spec | Single Pane Metal Frame | .
Other Retrofits
.
Retrofit Start | 6/16/11
Retrofit Complete | 6/9/11
Weather Station Used | Sunnyvale

## Site 6
CalTest - Uncalibrated
Site | 6
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 868 | 531 | 337
Electric - total kWh |  |  | 0 | 8693 | 7469 | 1224
Basic House Information
Year Built | 1961
Zip Code | 94903
CA Climate Zone | 2
Conditioned Area (sq ft) | 1785
Volume (cubic ft) | 14280
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 4
Front Orientation | North
Foundation Type | CrawlSpace
Duct Location | AtticCeil
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.96
Central Air Conditioner Efficiency (SEER) | 9.7 | 9.7
Duct Insulation R (nominal) | 2 | 6
Duct Leakage CFM25 | N/A* | 150 | *No Duct Test in due to Asbestos
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2805 | 2480
Foundation Floor Insulation(R-value) | 0 | .
Foundation Wall Insulation (R-value) | N/A | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1785 | .
Attic Insulation (R-value Nominal) | 11 | 38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Not Insultated | .
Window Type/spec | Single Pane Metal Frame | .
Other Retrofits
.
Retrofit Start | 1/17/12
Retrofit Complete | 2/15/12
Weather Station Used | SAN RAFAEL

## Site 7
CalTest - Uncalibrated
Site | 7
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 631 | 556 | 75
Electric - total kWh |  |  | 0 |  |  | 0
Basic House Information
Year Built | 1956
Zip Code | 94510
CA Climate Zone | 12
Conditioned Area (sq ft) | 1750
Volume (cubic ft) | 14000
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North East
Foundation Type | CrawlSpace
Duct Location | AtticCeil
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.95 | 0.95
Central Air Conditioner Efficiency (SEER) | 14.2 | 14.2
Duct Insulation R (nominal) | 8 | .
Duct Leakage CFM25 | 199 | -
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 3352 | 2199
Foundation Floor Insulation(R-value) | 0 | 19
Foundation Wall Insulation (R-value) | N/A | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1750 | .
Attic Insulation (R-value Nominal) | 4 | 38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Not Insulated | 11
Window Type/spec | Double Pane Metal Frame | Double Pane Non-Metal Frame (U=0.31, SHGC=0.37)
Other Retrofits
.
Retrofit Start | 2011-12-01
Retrofit Complete | 2012-02-29
Weather Station Used | Benicia

## Site 8
CalTest - Uncalibrated
Site | 8
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 868 | 531 | 337
Electric - total kWh |  |  | 0 | 6368 | 5378 | 990
Basic House Information
Year Built | 1981
Zip Code | 95120
CA Climate Zone | 4
Conditioned Area (sq ft) | 1797
Volume (cubic ft) | 14376
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | Southeast
Foundation Type | Crawlspace
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.9 | 0.9
Central Air Conditioner Efficiency (SEER) | 13 | 13
Duct Insulation R (nominal) | 2 | 6
Duct Leakage CFM25 | 515 | 205
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4577 | 1831
Foundation Floor Insulation(R-value) | 0 | 19
Foundation Wall Insulation (R-value) | N/A | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1797 | .
Attic Insulation (R-value Nominal) | 78% R-11 22% R-0 | .
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Insulated | .
Window Type/spec | Double Pane Non-Metal Frame w/ tint | .
Other Retrofits
.
Retrofit Start | 2012-01-21
Retrofit Complete | 2012-03-06
Weather Station Used | San Jose

## Site 9
CalTest - Uncalibrated
Site | 9
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 548 | 357 | 191
Electric - total kWh |  |  | 0 |  |  | 0
Basic House Information
Year Built | 1980
Zip Code | 94597
CA Climate Zone | 12
Conditioned Area (sq ft) | 1877
Volume (cubic ft) | 15016
# of Stories Above Grade | 1
Ceiling Height (ft) | 9
Bedrooms | 4
Front Orientation | Southwest
Foundation Type | Crawlspace
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.92
Central Air Conditioner Efficiency (SEER) | 10 | 15
Duct Insulation R (nominal) | 2 | 4
Duct Leakage CFM25 | 254 | 151
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4483 | 3135
Foundation Floor Insulation(R-value) | 0 | 11
Foundation Wall Insulation (R-value) | . | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | . | .
Attic Insulation (R-value Nominal) | 13 | 38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Insulated | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 8/2/11
Retrofit Complete | 10/17/11
Weather Station Used | CONCORD

## Site 10
CalTest - Uncalibrated
Site | 10
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 754 | 446 | 308
Electric - total kWh |  |  | 0 | 6479 | 4832 | 1647
Basic House Information
Year Built | 1957
Zip Code | 94062
CA Climate Zone | 3
Conditioned Area (sq ft) | 1750
Volume (cubic ft) | 14000
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North
Foundation Type | CrawlSpace
Duct Location | Crawlspac
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.78 | 0.95
Central Air Conditioner Efficiency (SEER) | 10 | 15
Duct Insulation R (nominal) | 2 | 6
Duct Leakage CFM25 | 300 | 102
Water Heater Type | Storage Water Heater | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4175 | 2657
Foundation Floor Insulation(R-value) | 0 | .
Foundation Wall Insulation (R-value) | . | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | . | .
Attic Insulation (R-value Nominal) | 22 | 48
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Insulated | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 8/21/11
Retrofit Complete | 1/19/12
Weather Station Used | SAN-JOSE-REID_724946

## Site 11
CalTest - Uncalibrated
Site | 11
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 868 | 531 | 337
Electric - total kWh |  |  | 0 | 10635 | 7832 | 2803
Basic House Information
Year Built | 1908
Zip Code | 94903
CA Climate Zone | 13
Conditioned Area (sq ft) | 1792
Volume (cubic ft) | 16128
# of Stories Above Grade | 1
Ceiling Height (ft) | 9
Bedrooms | 4
Front Orientation | West
Foundation Type | Raised Floor
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 14 | 16
Duct Insulation R (nominal) | 2 | 8
Duct Leakage CFM25 | 320 | 39
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 5432 | 3778
Foundation Floor Insulation(R-value) | 0 | R-19
Foundation Wall Insulation (R-value) | - | -
Attic Construction Type | Wood Frame | -
Attic Ceiling Area (sq ft) |  | -
Attic Insulation (R-value Nominal) | R-11 | R-48
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Not insulated
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 1/21/12
Retrofit Complete | 2012-04-26
Weather Station Used | NAPA-CO_724955

## Site 12
CalTest - Uncalibrated
Site | 12
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 776 | 489 | 287
Electric - total kWh |  |  | 0 | 9978 | 5736 | 4242
Basic House Information
Year Built | 1935
Zip Code | 90035
CA Climate Zone | 9
Conditioned Area (sq ft) | 1674
Volume (cubic ft) | 15066
# of Stories Above Grade | 1
Ceiling Height (ft) | 9
Bedrooms | 3
Front Orientation | South
Foundation Type | Raised Floor
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 10 | 13
Duct Insulation R (nominal) | 0 | 6
Duct Leakage CFM25 |  | .
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4679 | 2651
Foundation Floor Insulation(R-value) | - | -
Foundation Wall Insulation (R-value) | - | -
Attic Construction Type | Wood Frame | -
Attic Ceiling Area (sq ft) | - | -
Attic Insulation (R-value Nominal) | R-0 | R-38
Wall Construction Type | 2x4 Wood Frame | -
Wall Insulation (R-value Nominal) | Not insulated
Window Type/spec | - | -
Other Retrofits
.
Retrofit Start | 1/17/12
Retrofit Complete | 2/15/12
Weather Station Used | LOS-ANGELES-DOWNTOWN_722874

## Site 13
CalTest - Uncalibrated
Site | 13
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 754 | 336 | 418
Electric - total kWh |  |  | 0 | 6483 | 3693 | 2790
Basic House Information
Year Built | 1940
Zip Code | 91107
CA Climate Zone | 9
Conditioned Area (sq ft) | 1800
Volume (cubic ft)
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 4
Front Orientation | Southwest
Foundation Type | Raised Floor
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.9 | 0.9
Central Air Conditioner Efficiency (SEER) | 10 | 13
Duct Insulation R (nominal) | R6 | R6
Duct Leakage CFM25 | 253 | 120
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 3373 | 2967
Foundation Floor Insulation(R-value) | 0 | 19
Foundation Wall Insulation (R-value) | N/A
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | . | .
Attic Insulation (R-value Nominal) | R-8 | R-38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Not Insulated | R13
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 6/15/11
Retrofit Complete | 12/8/11
Weather Station Used | SAN-DIEGO-MONTGOMER_722903

## Site 14
CalTest - Uncalibrated
Site | 14
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 956 | 606 | 350
Electric - total kWh |  |  | 0 | 12063 | 8793 | 3270
Basic House Information
Year Built | 1948
Zip Code | 91423
CA Climate Zone | 9
Conditioned Area (sq ft) | 1390
Volume (cubic ft)
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North
Foundation Type | Raised Floor
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 10 | 15
Duct Insulation R (nominal) | R-2.1 | 8
Duct Leakage CFM25 | 185 | 70
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2524 | 1962
Foundation Floor Insulation(R-value) | 0 | 19
Foundation Wall Insulation (R-value) | N/A
Attic Construction Type | Wood Frame & Post | .
Attic Ceiling Area (sq ft) | 1390 | .
Attic Insulation (R-value Nominal) | R-0 | R-38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Insulated
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 6/16/11
Retrofit Complete | 6/9/11
Weather Station Used | VAN-NUYS_722886

## Site 15
CalTest - Uncalibrated
Site | 15
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 749 | 459 | 290
Electric - total kWh |  |  | 0 | 10635 | 7832 | 2803
Basic House Information
Year Built | 1953
Zip Code | 91790
CA Climate Zone | 9
Conditioned Area (sq ft) | 1386
Volume (cubic ft) | 11088
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North
Foundation Type | Raised Floor
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | None | None
Duct Insulation R (nominal) | 2 | 6
Duct Leakage CFM25 | 254 | 112
Water Heater Type | Propane | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2555 | 1700
Foundation Floor Insulation(R-value) | 0 | 19
Foundation Wall Insulation (R-value) | N/A | -
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1386 | .
Attic Insulation (R-value Nominal) | R-19 | R-44
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Not Insulated | R15
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 8/9/11
Retrofit Complete | 10/27/11
Weather Station Used | LOS-ANGELES-DOWNTOWN_722874

## Site 16
CalTest - Uncalibrated
Site | 16
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 995 | 693 | 302
Electric - total kWh |  |  | 0 | 13642 | 8730 | 4912
Basic House Information
Year Built | 1966
Zip Code | 91321
CA Climate Zone | 9
Conditioned Area (sq ft) | 1794
Volume (cubic ft) | 13376
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 4
Front Orientation | Southwest
Foundation Type | Slab on Grade
Duct Location | AtticCeilingInsVented
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 8 | 15
Duct Insulation R (nominal) | 1 | 6
Duct Leakage CFM25 | 190 | 80
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2301 | 2145
Foundation Floor Insulation(R-value) | 0 | 0
Foundation Wall Insulation (R-value) | N/A | -
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | . | .
Attic Insulation (R-value Nominal) | 19 | 38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Insulated
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 2011-12-01
Retrofit Complete | 2012-02-15
Weather Station Used | VAN-NUYS_722886

## Site 17
CalTest - Uncalibrated
Site | 17
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 945 | 673 | 272
Electric - total kWh |  |  | 0 | 11867 | 10793 | 1074
Basic House Information
Year Built | 1974
Zip Code | 92128
CA Climate Zone | 10
Conditioned Area (sq ft) | 1457
Volume (cubic ft) | 14570
# of Stories Above Grade | 1
Ceiling Height (ft) | 10
Bedrooms | 3
Front Orientation | North
Foundation Type | Slab
Duct Location | AtticCeilingInsVented
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 10 | 13
Duct Insulation R (nominal) | 4.2 | 6
Duct Leakage CFM25 | 300 | 228
Water Heater Type | GasFired | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2630 | 1546
Foundation Floor Insulation(R-value) | 0
Foundation Wall Insulation (R-value) | . | .
Attic Construction Type | Wood Frame
Attic Ceiling Area (sq ft)
Attic Insulation (R-value Nominal) | 15 | 38
Wall Construction Type | 2x4 Wood Frame
Wall Insulation (R-value Nominal) | Insulated
Window Type/spec | UFactor : 0.55 SHGC : 0.67 Total Area : 305
Other Retrofits
Retrofit Start | 2012-05-21
Retrofit Complete | 2012-05-21
Weather Station Used | CAMP-PENDLETON

## Site 18
CalTest - Uncalibrated
Site | 18
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 562 | 387 | 175
Electric - total kWh |  |  | 0 | 5831 | 4592 | 1239
Basic House Information
Year Built | 1980
Zip Code | 92020
CA Climate Zone | 10
Conditioned Area (sq ft) | 1750
Volume (cubic ft) | 14000
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North
Foundation Type | Slab
Duct Location | AtticCeilingInsVented
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 13 | 13
Duct Insulation R (nominal) | 2.1 | 6
Duct Leakage CFM25 |  | 122
Water Heater Type | GasFired | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2450 | 1408
Foundation Floor Insulation(R-value) | 0
Foundation Wall Insulation (R-value) | 0
Attic Construction Type | Wood Frame
Attic Ceiling Area (sq ft)
Attic Insulation (R-value Nominal) | 15 | 38
Wall Construction Type | 2x4 Wood Frame
Wall Insulation (R-value Nominal) | Not Insulated
Window Type/spec | Total Area: 292
Other Retrofits
Retrofit Start | 2012-07-12
Retrofit Complete | 2012-07-12
Weather Station Used | CAMP-PENDLETON

## Site 19
CalTest - Uncalibrated
Site | 19
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 868 | 531 | 337
Electric - total kWh |  |  | 0 | 10635 | 7832 | 2803
Basic House Information
Year Built | 1954
Zip Code | 92110
CA Climate Zone | 7
Conditioned Area (sq ft) | 1392
Volume (cubic ft) | 11136
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North
Foundation Type | Raised Floor
Duct Location | AtticCeilingInsVented
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.98
Central Air Conditioner Efficiency (SEER) | 9.7 | 16
Duct Insulation R (nominal) | 2 | 6
Duct Leakage CFM25 | 286 | 71
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2080 | 1966
Foundation Floor Insulation(R-value) | 11
Foundation Wall Insulation (R-value) | - | -
Attic Construction Type | Wood Frame
Attic Ceiling Area (sq ft)
Attic Insulation (R-value Nominal) | 30 | 38
Wall Construction Type | 2x4 Wood Frame
Wall Insulation (R-value Nominal) | Insulated
Window Type/spec | Total Aread: 278
Other Retrofits
Retrofit Start | 2012-04-16
Retrofit Complete | 2012-04-16
Weather Station Used | SAN-DIEGO-LINDBERGH

## Site 20
CalTest - Uncalibrated
Site | 20
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 737 | 531 | 206
Electric - total kWh |  |  | 0 | 7759 | 6025 | 1734
Basic House Information
Year Built | 1968
Zip Code | 92117
CA Climate Zone | 7
Conditioned Area (sq ft) | 1616
Volume (cubic ft) | 14544
# of Stories Above Grade | 1
Ceiling Height (ft) | 9
Bedrooms | 4
Front Orientation | North
Foundation Type | CrawlSpace
Duct Location | AtticCeilingInsVented
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 13 | 13
Duct Insulation R (nominal) | 2 | 6
Duct Leakage CFM25 | 317 | 139
Water Heater Type | GasFired | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2650 | 1854
Foundation Floor Insulation(R-value) | 0 | 19
Foundation Wall Insulation (R-value) | - | -
Attic Construction Type | Attic and Cathedral
Attic Ceiling Area (sq ft)
Attic Insulation (R-value Nominal) | 0 | 38
Wall Construction Type | 2x4 Wood Frame
Wall Insulation (R-value Nominal) | Not insulated
Window Type/spec | Total Area: 238
Other Retrofits
Retrofit Start | 2012-04-26
Retrofit Complete | 2012-04-26
Weather Station Used | SAN-DIEGO-MONTGOMER