## Summary
Energy Upgrade California - CalTEST Empirical Software Test, Uncalibrated
Version 1.0 4-June-2014
Software Vendor
Tool name and version
Date submitted
Overall Results | Pass/Fail
Natural Gas | 0%
Electric | 0%
Natural Gas (th/yr)
Site Number | Billing Usage | Weather NormalizedBilling Savings | Projected Savings | Realization | Pass?
1 | 548 | 116 | 0 |  | FAIL | 0
2 | 868 | 337 | 0 |  | FAIL | 0
3 | 915 | 304 | 0 |  | FAIL | 0
4 | 832 | 225 | 0 |  | FAIL | 0
5 | 574 | 218 | 0 |  | FAIL | 0
6 | 868 | 337 | 0 |  | FAIL | 0
7 | 631 | 75 | 0 |  | FAIL | 0
8 | 868 | 337 | 0 |  | FAIL | 0
9 | 548 | 191 | 0 |  | FAIL | 0
10 | 754 | 308 | 0 |  | FAIL | 0
11 | 868 | 337 | 0 |  | FAIL | 0
12 | 803 | 434 | 0 |  | FAIL | 0
13 | 356 | 88 | 0 |  | FAIL | 0
14 | 205 | 7 | 0 |  | FAIL | 0
15 | 749 | 290 | 0 |  | FAIL | 0
16 | 995 | 302 | 0 |  | FAIL | 0
17 | 287 | 26 | 0 |  | FAIL | 0
18 | 403 | 197 | 0 |  | FAIL | 0
19 | 868 | 337 | 0 |  | FAIL | 0
20 | 532 | 23 | 0 |  | FAIL | 0
Average - overall | 673.6 | 224.45 |  |  |  | 0
|  |  | Site Pass % |  | 0%
Electricity (kWh/yr)
Site Number | Billing Usage | Weather Normalized Billing Savings | Projected Savings | Realization | Pass?
1 | 7983 | 2599 | 0 |  | FAIL | 0
2 | 10635 | 2803 | 0 |  | FAIL | 0
3 | 9578 | 1746 | 0 |  | FAIL | 0
4 | 0 | 0 |  |  | FAIL
5 | 0 | 0 |  |  | FAIL
6 | 8693 | 1224 | 0 |  | FAIL | 0
7 | 0 | 0 |  |  | FAIL
8 | 6368 | 990 | 0 |  | FAIL | 0
9 | 0 | 0 |  |  | FAIL
10 | 6479 | 1647 | 0 |  | FAIL | 0
11 | 10635 | 2803 | 0 |  | FAIL | 0
12 | 9978 | 4242 | 0 |  | FAIL | 0
13 | - | - | 0 |  | FAIL | 0
14 | 12063 | 3270 | 0 |  | FAIL | 0
15 | 10635 | 2803 | 0 |  | FAIL | 0
16 | 13642 | 4912 | 0 |  | FAIL | 0
17 | N/A | #VALUE! | 0 |  | FAIL | 0
18 | N/A | #VALUE! | 0 |  | FAIL | 0
19 | N/A | #VALUE! | 0 |  | FAIL | 0
20 | N/A | #VALUE! | 0 |  | FAIL | 0
Average - overall | 7112.6 | #VALUE! | 0
|  |  | Site Pass % |  | 0% | 0

## Site 1
CalTest - Uncalibrated
Site | 1
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 548 | 432 | 116
Electric - total kWh |  |  | 0 | 7983 | 5384 | 2599
Basic House Information
Year Built | 1988
Zip Code | 95765
CA Climate Zone | 11
Conditioned Area (sq ft) | 2100
Volume (cubic ft) | 16800
# of Stories Above Grade | 2 | *This is a split-level home, so it is actually a two story home, not 1 story as erroneously noted in the XML file. Pre-retrofit condition: The first floor has 338sqft of cathedral insulated at R-19 and 169 sqft of Attic Roof insulated at R-25. The second floor has 582 sqft attic roof insulated at R-25. This adds up 1089, not 1051. The Reason it does not match the total Conditioned floor area is because part of the 2nd floor rests on top of the 1st.
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North West
Foundation Type | Slab
Duct Location | Attic
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.78 | 0.95
Central Air Conditioner Efficiency (SEER) | 8.9 | 15
Duct Insulation R (nominal) | 4.2 | -
Duct Leakage CFM25 | 326 | 108
Water Heater Type | Standard Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2545 | 1896
Foundation Floor Insulation(R-value) | N/A | -
Foundation Wall Insulation (R-value) | N/A | -
Attic Construction Type | 75% Wood Frame 25% Vaulted Roof | . | Pre-retrofit condition: The first floor has 338sqft of cathedral insulated at R-19 and 169 sqft of Attic Roof insulated at R-25. The second floor has 582 sqft attic roof insulated at R-25. This adds up 1089, not 1051. The Reason it does not match the total Conditioned floor area is because part of the 2nd floor rests on top of the 1st.
Attic Ceiling Area (sq ft) | 1051 | .
Attic Insulation (R-value Nominal) | R-22 | R-49
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Insulation | .
Window Type/spec | Double Pane Metal Frame | .
Other Retrofits
.
Retrofit Start | 8/2/11
Retrofit Complete | 10/25/11
Weather Station Used | LOS-ANGELES-DOWNTOWN_722874

## Site 2
CalTest - Uncalibrated
Site | 2
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 868 | 531 | 337
Electric - total kWh |  |  | 0 | 10635 | 7832 | 2803
Basic House Information
Year Built | 1956
Zip Code | 94526
CA Climate Zone | 12
Conditioned Area (sq ft) | 1612
Volume (cubic ft) | 12896
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 4
Front Orientation | East
Foundation Type | CrawlSpace
Duct Location | Attic
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 13 | -
Duct Insulation R (nominal) | 1 | 10
Duct Leakage CFM25 | 328 | 18
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4070 | 2555
Foundation Floor Insulation(R-value) | R-0 | .
Foundation Wall Insulation (R-value) | N/A | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1617 | .
Attic Insulation (R-value Nominal) | R-5 | R-38
Wall Construction Type | 2X4 Wood Frame | .
Wall Insulation (R-value Nominal) | R-13 | .
Window Type/spec | Double Pane Metal Frame | .
Other Retrofits
.
Retrofit Start | 6/15/11
Retrofit Complete | 12/8/11
Weather Station Used | LOS-ANGELES-DOWNTOWN_722874

## Site 3
CalTest - Uncalibrated
Site | 3
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 915 | 611 | 304
Electric - total kWh |  |  | 0 | 9578 | 7832 | 1746
Basic House Information
Year Built | 1964
Zip Code | 94556
CA Climate Zone | 12
Conditioned Area (sq ft) | 1964
Volume (cubic ft) | 15712
# of Stories Above Grade | 1
Ceiling Height (ft) | 9
Bedrooms | 4
Front Orientation | East
Foundation Type | CrawlSpace
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | -
Central Air Conditioner Efficiency (SEER) | 13 | -
Duct Insulation R (nominal) | 5 | 20
Duct Leakage CFM25 | 254 | 132
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 3855 | 2401
Foundation Floor Insulation(R-value) | R-0 | .
Foundation Wall Insulation (R-value) | N/A | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1964 | -
Attic Insulation (R-value Nominal) | 5 | 38
Wall Construction Type | 2x4 Wood Frame | -
Wall Insulation (R-value Nominal) | Uninsulated | -
Window Type/spec | Doubel Pane Non-Metal Frame U=0.4 SHGC=0.5 | .
Other Retrofits
.
Retrofit Start | 2011-10-01
Retrofit Complete | 2011-11-21
Weather Station Used | VAN-NUYS_722886

## Site 4
CalTest - Uncalibrated
Site | 4
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 832 | 607 | 225
Electric - total kWh |  |  | 0 |  |  | 0
Basic House Information
Year Built | 1969
Zip Code | 94619
CA Climate Zone | 3
Conditioned Area (sq ft) | 1845
Volume (cubic ft) | 15313.5
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 4
Front Orientation | East
Foundation Type | CrawlSpace
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.75 | 0.95
Central Air Conditioner Efficiency (SEER) | N/A | -
Duct Insulation R (nominal) | 2.1 | 8
Duct Leakage CFM25 | N/A* | 80 | *No Duct Test in due to Asbestos
Water Heater Type | Natural Gas, EF = .58 | Natural Gas, EF=.67
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2150 | 1555
Foundation Floor Insulation(R-value) | 0 | 19
Foundation Wall Insulation (R-value) | . | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1845 | .
Attic Insulation (R-value Nominal) | 11 | 44
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Insulated | .
Window Type/spec | 20% Single Pane NonMetal Frame 80% Double Pane Non-Metal Frame | .
Other Retrofits
.
Retrofit Start | 8/9/11
Retrofit Complete | 10/27/11
Weather Station Used | VAN-NUYS_722886

## Site 5
CalTest - Uncalibrated
Site | 5
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 574 | 356 | 218
Electric - total kWh |  |  | 0 |  |  | 0
Basic House Information
Year Built | 1962
Zip Code | 94087
CA Climate Zone | 4
Conditioned Area (sq ft) | 1785
Volume (cubic ft) | 14280
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North
Foundation Type | CrawlSpace
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.78 | 0.95
Central Air Conditioner Efficiency (SEER) | 13 | 13
Duct Insulation R (nominal) | 2 | 8
Duct Leakage CFM25 | 550 | 210
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 3000 | 1834
Foundation Floor Insulation(R-value) | 0 | .
Foundation Wall Insulation (R-value) | N/A | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1881 | .
Attic Insulation (R-value Nominal) | 11 | 38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Not Insulated | .
Window Type/spec | Single Pane Metal Frame | .
Other Retrofits
.
Retrofit Start | 6/16/11
Retrofit Complete | 6/9/11
Weather Station Used | Sunnyvale

## Site 6
CalTest - Uncalibrated
Site | 6
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 868 | 531 | 337
Electric - total kWh |  |  | 0 | 8693 | 7469 | 1224
Basic House Information
Year Built | 1961
Zip Code | 94903
CA Climate Zone | 2
Conditioned Area (sq ft) | 1785
Volume (cubic ft) | 14280
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 4
Front Orientation | North
Foundation Type | CrawlSpace
Duct Location | Attic
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.96
Central Air Conditioner Efficiency (SEER) | 9.7 | 9.7
Duct Insulation R (nominal) | 2 | 6
Duct Leakage CFM25 | N/A* | 150 | *No Duct Test in due to Asbestos
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2805 | 2480
Foundation Floor Insulation(R-value) | 0 | .
Foundation Wall Insulation (R-value) | N/A | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1785 | .
Attic Insulation (R-value Nominal) | 11 | 38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Not Insultated | .
Window Type/spec | Single Pane Metal Frame | .
Other Retrofits
.
Retrofit Start | 1/17/12
Retrofit Complete | 2/15/12
Weather Station Used | SAN RAFAEL

## Site 7
CalTest - Uncalibrated
Site | 7
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 631 | 556 | 75
Electric - total kWh |  |  | 0 |  |  | 0
Basic House Information
Year Built | 1956
Zip Code | 94510
CA Climate Zone | 12
Conditioned Area (sq ft) | 1750
Volume (cubic ft) | 14000
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North East
Foundation Type | CrawlSpace
Duct Location | Wood frame attic
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.95 | 0.95
Central Air Conditioner Efficiency (SEER) | 14.2 | 14.2
Duct Insulation R (nominal) | 8 | .
Duct Leakage CFM25 | 199 | -
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 3352 | 2199
Foundation Floor Insulation(R-value) | 0 | 19
Foundation Wall Insulation (R-value) | N/A | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1750 | .
Attic Insulation (R-value Nominal) | 4 | 38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Not Insulated | 11
Window Type/spec | Double Pane Metal Frame | Double Pane Non-Metal Frame (U=0.31, SHGC=0.37)
Other Retrofits
.
Retrofit Start | 2011-12-01
Retrofit Complete | 2012-02-29
Weather Station Used | Benicia

## Site 8
CalTest - Uncalibrated
Site | 8
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 868 | 531 | 337
Electric - total kWh |  |  | 0 | 6368 | 5378 | 990
Basic House Information
Year Built | 1981
Zip Code | 95120
CA Climate Zone | 4
Conditioned Area (sq ft) | 1797
Volume (cubic ft) | 14376
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | Southeast
Foundation Type | Crawlspace
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.9 | 0.9
Central Air Conditioner Efficiency (SEER) | 13 | 13
Duct Insulation R (nominal) | 2 | 6
Duct Leakage CFM25 | 515 | 205
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4577 | 1831
Foundation Floor Insulation(R-value) | 0 | 19
Foundation Wall Insulation (R-value) | N/A | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1797 | .
Attic Insulation (R-value Nominal) | 78% R-11 22% R-0 | .
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Insulated | .
Window Type/spec | Double Pane Non-Metal Frame w/ tint | .
Other Retrofits
.
Retrofit Start | 2012-01-21
Retrofit Complete | 2012-03-06
Weather Station Used | San Jose

## Site 9
CalTest - Uncalibrated
Site | 9
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 548 | 357 | 191
Electric - total kWh |  |  | 0 |  |  | 0
Basic House Information
Year Built | 1980
Zip Code | 94597
CA Climate Zone | 12
Conditioned Area (sq ft) | 1877
Volume (cubic ft) | 15016
# of Stories Above Grade | 1
Ceiling Height (ft) | 9
Bedrooms | 4
Front Orientation | Southwest
Foundation Type | Crawlspace
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.92
Central Air Conditioner Efficiency (SEER) | 10 | 15
Duct Insulation R (nominal) | 2 | 4
Duct Leakage CFM25 | 254 | 151
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4483 | 3135
Foundation Floor Insulation(R-value) | 0 | 11
Foundation Wall Insulation (R-value) | . | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | . | .
Attic Insulation (R-value Nominal) | 13 | 38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Insulated | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 8/2/11
Retrofit Complete | 10/17/11
Weather Station Used | CONCORD

## Site 10
CalTest - Uncalibrated
Site | 10
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 754 | 446 | 308
Electric - total kWh |  |  | 0 | 6479 | 4832 | 1647
Basic House Information
Year Built | 1957
Zip Code | 94062
CA Climate Zone | 3
Conditioned Area (sq ft) | 1750
Volume (cubic ft) | 14000
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North
Foundation Type | CrawlSpace
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.78 | 0.95
Central Air Conditioner Efficiency (SEER) | 10 | 15
Duct Insulation R (nominal) | 2 | 6
Duct Leakage CFM25 | 300 | 102
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4175 | 2657
Foundation Floor Insulation(R-value) | 0 | .
Foundation Wall Insulation (R-value) | . | .
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | . | .
Attic Insulation (R-value Nominal) | 22 | 48
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Insulated | .
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 8/21/11
Retrofit Complete | 1/19/12
Weather Station Used | SAN-JOSE-REID_724946

## Site 11
CalTest - Uncalibrated
Site | 11
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 868 | 531 | 337
Electric - total kWh |  |  | 0 | 10635 | 7832 | 2803
Basic House Information
Year Built | 1908
Zip Code | 94903
CA Climate Zone | 13
Conditioned Area (sq ft) | 1792
Volume (cubic ft) | 16128
# of Stories Above Grade | 1
Ceiling Height (ft) | 9
Bedrooms | 4
Front Orientation | West
Foundation Type | Crawlspace
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 14 | 16
Duct Insulation R (nominal) | 2 | 8
Duct Leakage CFM25 | 320 | 39
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 5432 | 3778
Foundation Floor Insulation(R-value) | 0 | R-19
Foundation Wall Insulation (R-value) | - | -
Attic Construction Type | Wood Frame | -
Attic Ceiling Area (sq ft) |  | -
Attic Insulation (R-value Nominal) | R-11 | R-48
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Not insulated
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 1/21/12
Retrofit Complete | 2012-04-26
Weather Station Used | NAPA-CO_724955

## Site 12
CalTest - Uncalibrated
Site | 12
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 803 | 369 | 434
Electric - total kWh |  |  | 0 | 9978 | 5736 | 4242
Basic House Information
Year Built | 1935
Zip Code | 90035
CA Climate Zone | 9
Conditioned Area (sq ft) | 1674
Volume (cubic ft) | 15066
# of Stories Above Grade | 1
Ceiling Height (ft) | 9
Bedrooms | 3
Front Orientation | South
Foundation Type | Crawlspace
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 10 | 13
Duct Insulation R (nominal) | 0 | 6
Duct Leakage CFM25 |  | .
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 4679 | 2651
Foundation Floor Insulation(R-value) | - | -
Foundation Wall Insulation (R-value) | - | -
Attic Construction Type | Wood Frame | -
Attic Ceiling Area (sq ft) | - | -
Attic Insulation (R-value Nominal) | R-0 | R-38
Wall Construction Type | 2x4 Wood Frame | -
Wall Insulation (R-value Nominal) | Not insulated
Window Type/spec | - | -
Other Retrofits
.
Retrofit Start | 1/17/12
Retrofit Complete | 2/15/12
Weather Station Used | LOS-ANGELES-DOWNTOWN_722874

## Site 13
CalTest - Uncalibrated
Site | 13
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 356 | 268 | 88
Electric - total kWh |  |  | 0 | - | - | -
Basic House Information
Year Built | 1940
Zip Code | 91107
CA Climate Zone | 9
Conditioned Area (sq ft) | 1800
Volume (cubic ft)
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 4
Front Orientation | Southwest
Foundation Type | Crawlspace
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.9 | 0.9
Central Air Conditioner Efficiency (SEER) | 10 | 13
Duct Insulation R (nominal) | R6 | R6
Duct Leakage CFM25 | 253 | 120
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 3373 | 2967
Foundation Floor Insulation(R-value) | 0 | 19
Foundation Wall Insulation (R-value) | N/A
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | . | .
Attic Insulation (R-value Nominal) | R-8 | R-38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Not Insulated | R13
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 6/15/11
Retrofit Complete | 12/8/11
Weather Station Used | SAN-DIEGO-MONTGOMER_722903

## Site 14
CalTest - Uncalibrated
Site | 14
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 205 | 198 | 7
Electric - total kWh |  |  | 0 | 12063 | 8793 | 3270
Basic House Information
Year Built | 1948
Zip Code | 91423
CA Climate Zone | 9
Conditioned Area (sq ft) | 1390
Volume (cubic ft)
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North
Foundation Type | Crawlspace
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 10 | 15
Duct Insulation R (nominal) | R-2.1 | 8
Duct Leakage CFM25 | 185 | 70
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2524 | 1962
Foundation Floor Insulation(R-value) | 0 | 19
Foundation Wall Insulation (R-value) | N/A
Attic Construction Type | Wood Frame & Post | .
Attic Ceiling Area (sq ft) | 1390 | .
Attic Insulation (R-value Nominal) | R-0 | R-38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Insulated
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 6/16/11
Retrofit Complete | 6/9/11
Weather Station Used | VAN-NUYS_722886

## Site 15
CalTest - Uncalibrated
Site | 15
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 749 | 459 | 290
Electric - total kWh |  |  | 0 | 10635 | 7832 | 2803
Basic House Information
Year Built | 1953
Zip Code | 91790
CA Climate Zone | 9
Conditioned Area (sq ft) | 1386
Volume (cubic ft) | 11088
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North |  |  |  |  | 100 | 50
Foundation Type | Crawlspace
Duct Location | Crawlspace
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | None | None
Duct Insulation R (nominal) | 2 | 6
Duct Leakage CFM25 | 254 | 112
Water Heater Type | Propane | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2555 | 1700
Foundation Floor Insulation(R-value) | 0 | 19
Foundation Wall Insulation (R-value) | N/A | -
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | 1386 | .
Attic Insulation (R-value Nominal) | R-19 | R-44
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Not Insulated | R15
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 8/9/11
Retrofit Complete | 10/27/11
Weather Station Used | LOS-ANGELES-DOWNTOWN_722874

## Site 16
CalTest - Uncalibrated
Site | 16
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 995 | 693 | 302
Electric - total kWh |  |  | 0 | 13642 | 8730 | 4912
Basic House Information
Year Built | 1966
Zip Code | 91321
CA Climate Zone | 9
Conditioned Area (sq ft) | 1794
Volume (cubic ft) | 13376
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 4
Front Orientation | Southwest
Foundation Type | Slab on Grade
Duct Location | Wood frame attic
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 8 | 15
Duct Insulation R (nominal) | 1 | 6
Duct Leakage CFM25 | 190 | 80
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2301 | 2145
Foundation Floor Insulation(R-value) | 0 | 0
Foundation Wall Insulation (R-value) | N/A | -
Attic Construction Type | Wood Frame | .
Attic Ceiling Area (sq ft) | . | .
Attic Insulation (R-value Nominal) | 19 | 38
Wall Construction Type | 2x4 Wood Frame | .
Wall Insulation (R-value Nominal) | Insulated
Window Type/spec | . | .
Other Retrofits
.
Retrofit Start | 2011-12-01
Retrofit Complete | 2012-02-15
Weather Station Used | VAN-NUYS_722886

## Site 17
CalTest - Uncalibrated
Site | 17
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 287 | 261 | 26
Electric - total kWh |  |  | 0 | N/A | N/A | #VALUE!
Basic House Information
Year Built | 1974
Zip Code | 92128
CA Climate Zone | 10
Conditioned Area (sq ft) | 1457
Volume (cubic ft) | 14570
# of Stories Above Grade | 1
Ceiling Height (ft) | 10
Bedrooms | 3
Front Orientation | North
Foundation Type | Slab
Duct Location | Wood frame attic
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 10 | 13
Duct Insulation R (nominal) | 4.2 | 6
Duct Leakage CFM25 | 300 | 228
Water Heater Type | GasFired | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2630 | 1546
Foundation Floor Insulation(R-value) | 0
Foundation Wall Insulation (R-value) | . | .
Attic Construction Type | Wood Frame
Attic Ceiling Area (sq ft)
Attic Insulation (R-value Nominal) | 15 | 38
Wall Construction Type | 2x4 Wood Frame
Wall Insulation (R-value Nominal) | Insulated
Window Type/spec | UFactor : 0.55 SHGC : 0.67 Total Area : 305
Other Retrofits
Retrofit Start | 2012-05-21
Retrofit Complete | 2012-05-21
Weather Station Used | CAMP-PENDLETON

## Site 18
CalTest - Uncalibrated
Site | 18
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 403 | 206 | 197
Electric - total kWh |  |  | 0 | N/A | N/A | #VALUE!
Basic House Information
Year Built | 1980
Zip Code | 92020
CA Climate Zone | 10
Conditioned Area (sq ft) | 1750
Volume (cubic ft) | 14000
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North
Foundation Type | Slab
Duct Location | Wood frame attic
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 13 | 13
Duct Insulation R (nominal) | 2.1 | 6
Duct Leakage CFM25 |  | 122
Water Heater Type | GasFired | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2450 | 1408
Foundation Floor Insulation(R-value) | 0
Foundation Wall Insulation (R-value) | 0
Attic Construction Type | Wood Frame
Attic Ceiling Area (sq ft)
Attic Insulation (R-value Nominal) | 15 | 38
Wall Construction Type | 2x4 Wood Frame
Wall Insulation (R-value Nominal) | Not Insulated
Window Type/spec | Total Area: 292
Other Retrofits
Retrofit Start | 2012-07-12
Retrofit Complete | 2012-07-12
Weather Station Used | CAMP-PENDLETON

## Site 19
CalTest - Uncalibrated
Site | 19
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 868 | 531 | 337
Electric - total kWh |  |  | 0 | N/A | N/A | #VALUE!
Basic House Information
Year Built | 1954
Zip Code | 92110
CA Climate Zone | 7
Conditioned Area (sq ft) | 1392
Volume (cubic ft) | 11136
# of Stories Above Grade | 1
Ceiling Height (ft) | 8
Bedrooms | 3
Front Orientation | North
Foundation Type | Crawlspace
Duct Location | Wood frame attic
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.98
Central Air Conditioner Efficiency (SEER) | 9.7 | 16
Duct Insulation R (nominal) | 2 | 6
Duct Leakage CFM25 | 286 | 71
Water Heater Type | Natural Gas | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2080 | 1966
Foundation Floor Insulation(R-value) | 11
Foundation Wall Insulation (R-value) | - | -
Attic Construction Type | Wood Frame
Attic Ceiling Area (sq ft)
Attic Insulation (R-value Nominal) | 30 | 38
Wall Construction Type | 2x4 Wood Frame
Wall Insulation (R-value Nominal) | Insulated
Window Type/spec | Total Aread: 278
Other Retrofits
Retrofit Start | 2012-04-16
Retrofit Complete | 2012-04-16
Weather Station Used | SAN-DIEGO-LINDBERGH

## Site 20
CalTest - Uncalibrated
Site | 20
VENDOR FILL THIS TABLE | Software Projection |  |  | Building Analysis Results
Annual Energy Use | Before | After | Savings | Before | After | Savings
Gas - total therms |  |  | 0 | 532 | 509 | 23
Electric - total kWh |  |  | 0 | N/A | N/A | #VALUE!
Basic House Information
Year Built | 1968
Zip Code | 92117
CA Climate Zone | 7
Conditioned Area (sq ft) | 1616
Volume (cubic ft) | 14544
# of Stories Above Grade | 1
Ceiling Height (ft) | 9
Bedrooms | 4
Front Orientation | North
Foundation Type | CrawlSpace
Duct Location | Wood frame attic
HVAC / Equipment | Existing | New
Gas Furnace Efficiency | 0.8 | 0.95
Central Air Conditioner Efficiency (SEER) | 13 | 13
Duct Insulation R (nominal) | 2 | 6
Duct Leakage CFM25 | 317 | 139
Water Heater Type | GasFired | .
Building Enclosure | Existing | New
Building Shell Leakage CFM50 | 2650 | 1854
Foundation Floor Insulation(R-value) | 0 | 19
Foundation Wall Insulation (R-value) | - | -
Attic Construction Type | Attic and Cathedral
Attic Ceiling Area (sq ft) | Attic 232ft2, cathedral 1384ft2.
Attic Insulation (R-value Nominal) | Attic (0) Cathedral (0) | Attic (38) Catherdal ()
Wall Construction Type | 2x4 Wood Frame
Wall Insulation (R-value Nominal) | Not insulated
Window Type/spec | Total Area: 238
Other Retrofits
Retrofit Start | 2012-04-26
Retrofit Complete | 2012-04-26
Weather Station Used | SAN-DIEGO-MONTGOMER