## Sheet1
Category of Question | Test Home # | Vendor Question | Answer
Home Data | 1 | B34 suggests that the sqft of attic is 1051, but you call the house out at 2100 sqft and a single story. How is it possible that the attic be 1/2 the house footprint if there’s only one floor? The building is listed as having 25% vaulted roof. It's likely that the vaulted section was not retrofitted. It's also quite possible that it did not have the same initial R-25. Was there no separate specification of the vault? | Site 1 is actually a two story home, not 1 story as erroneously noted. Pre-retrofit condition: The first floor has 338sqft of cathedral insulated at R-19 and 169 sqft of Attic Roof insulated at R-25. The second floor has 582 sqft attic roof insulated at R-25. This adds up 1089, not 1051. The Reason it does not match the total Conditioned floor area is because part of the 2nd floor rests on top of the 1st.
|  | What does Foundation Type: Raised Floor mean? Some sites have Foundation Type: Raised Floor and Duct Location: Crawlspace. | Energy Pro Raised Floor is a 16" off center wood framed floor with a crawlspace beneath it, and it means this is where majority of the Heating and Cooling duct distribution system is located.
|  | What is the difference between the AtticCeilingInsVented and AtticCeil entries for Duct Location? I can't see any consistency in the attic insulation values associated with either. | In Energy Pro whether you specify the attic as vented vs just Attic Ceiling it makes no difference in savings calculations. In either case, does this means the majority of ducts are located in the attic? The Assembly types specified for the roof or other assemblies is what energy pro uses in its calculations. The duct locations have no correlation to the R-value assembly assignments.
| 20 | On site 20, you have Attic Construction Type: Attic and Cathedral with no attic area and an attic insulation improvement. We need more information about the area split. Also, as with Site 1, it's likely that the attic and vault do not have identical starting insulation values and that only the attic was improved. These need to be better specified. | R-0 insulation (U-0.305) Roof Attic = 232 sq ft ¦¦ R-0 (U-0.297) cathedral = 1384 sq ft ¦¦Only Attic portion (232 sq ft) was improved to R-38 (U-0.025).
|  | None of the water heater descriptions are complete. They describe either the type (e.g. storage) or the fuel (e.g. Natural Gas). None of them give both the fuel and type. | They are all natural gas storage type?
| 18, 20 | There are several houses that have the same SEER for the Air Conditioning before and after but still show signifcant KWH reductions. Our specific question is: "Why do we see significant electric savings in the San Diego Market even when the before and after SEER is the same" Can the give us some help? Were there any other measures performed to achieve these savings ?? | Did the energy savings change on home 18 and 20 with Matt Gee's revised version? There was no SEER change on these two homes, but there were some envelope improvements. There must have been some lighting, pool pump or plug load improvements that weren't captured. Keep these homes?
Spreadsheet Calculations |  | Few of the calculations for realization rate in the summary make sense. 1st of all, column D doesn’t represent the proper site all the way through 1 to 20. All sites reflect Site 1. And Electricity uses the savings from natural gas and then also doesn’t reflect the proper site. Finally, the calculation for Pass/Fail is an invalid Xcel formula. F40 shows: =IF(E40>0.8 & E40<1.2,"YES","No") I have 104% as a value for # and it results in No. From what I understand in Excel, the “&" is used for concatenation only, so the high end of this will always fail. On each site page, D6 and D7 is not calculated automatically and should be. It’s labeled “Pass", but I would assume D6 should be B6-C6 and D7 should be B7-C7, and then shouldn’t it be labeled “Savings”? | Revised draft spreadsheet sent out to see if we fixed the errors.
| This question sent after revised spreasheet sent out to address above comments | This spreadsheet is better, but it still has lots of problems. I would advise against putting formulas in white text as opposed to hiding the columns. I would easily have inadvertently typed over that text in columns g and h. However, the formula in column G is also wrong. It’s not looking at % and instead an integer. Column H is correct. =IF(E15>80,1,0) should be =IF(E15>0.8,1,0) And, shouldn’t it be => instead of just >? Does an 80% realization rate pass or must it be 81%? Also, the electricity section is only reflecting gas, so D40 should be ='Site 1'!D$7 instead of ='Site 1'!D$6 and similar all the way down the 20 sites. Also, as mentioned previously, I’d automatically calculate D6 and D7 on the individual site pages. They're labeled “Pass", but I would assume D6 should be =B6-C6 and D7 should be =B7-C7 and then should be labeled “Savings”. | Needs fixing - awaiting next version of spreadsheet from Matt Gee to make fixes on single document. Who can do this and make sure we get it 100% right?
|  | Shouldn't the Realization Rate be the Projected divided by the Normalized. That way a 50% realization means that the actual was half the projected. This is how it was calculated in the Beta. | Needs fixing
|  | On the Summary sheet, I think the Average Realization Rate should be the ratio of the average Projected and Normalized savings, rather than the average of the individual realization rates. When you do it as an average of the individual realization rates, you give to calculations with small denominators and other outliers. It was calculated as the ratio of the averages in the Beta. | Needs fixing
Site 20
Note on D7: Jim: There is not a significant reduction in kWh. Numbers in spreadsheet are incorrect. See ECON2 inserted here.